## Slide 1: ADEQ Approaches to the Assessment Methodology
NPS Annual Stakeholder Meeting
September 27, 2017

## Slide 2: Overview
Process of assessing Waters of the State
State of the Waters
Public Participation opportunities

## Slide 3: Clean Water Act Requirements
Adopt Water Quality Standards
Monitor Waters of the State
Assessment
List Impaired Waters
303(d) List
Develop TMDLs
Defines Water Quality goals
40 CFR 130.3 and 131
Data collection based on need
40 CFR 130.4
Develop Permit Limits
Determines attainment
40 CFR 130.8
Identifies Quality Limited Waters
40 CFR 130.7(b)(1)
Defines Waste Loads
40 CFR 130.7
Implementation
40 CFR Part 122
305(b) Integrated Report

## Slide 4: Designated Uses
Primary Contact Recreation
Aquatic Life
Domestic
Water Supply
Industrial Water Supply
Secondary Contact Recreation

## Slide 5: Water Quality Criteria
Ecoregions | Temp (°C) | Turbidity | 
 |  | Base | All
Ozark Highlands | 29 | 10 | 17
Boston Mountains | 31 | 10 | 19
Arkansas River Valley | 31 | 21 | 40
Ouachita Mountains | 30 | 10 | 18
Gulf Coastal Plain Typical Springwater-influenced | 30 30 | 21 21 | 32 32
Mississippi Alluvial Plain Least Altered Channel Altered | 30 32 | 45 75 | 84 250
Ecoregion Based

## Slide 6: Clean Water Act Requirements
Adopt Water Quality Standards
Monitor Waters of the State
Assessment
List Impaired Waters
303(d) List
Develop TMDLs
Defines Water Quality goals
40 CFR 130.3 and 131
Data collection based on need 40 CFR 130.4
Develop Permit Limits
Determines attainment
40 CFR 130.8
Identifies Quality Limited Waters
40 CFR 130.7(b)(1)
Defines Waste Loads
40 CFR 130.7
Implementation
40 CFR Part 122
305(b) Integrated Report

## Slide 7: Clean Water Act Requirements
Adopt Water Quality Standards
Monitor Waters of the State
Assessment
List Impaired Waters
303(d) List
Develop TMDLs
Defines Water Quality goals
40 CFR 130.3 and 131
Data collection based on need 40 CFR 130.4
Develop Permit Limits
Determines attainment
40 CFR 130.8
Identifies Quality Limited Waters
40 CFR 130.7(b)(1)
Defines Waste Loads
40 CFR 130.7
Implementation
40 CFR Part 122
305(b) Integrated Report

## Slide 8: What is the Assessment Methodology?
Every two years ADEQ must assess the waters of the State to determine if they are:
  supporting designated uses
  attaining water quality criteria
The Assessment Methodology contains procedures for this assessment
Photo: Jack Bissell

## Slide 9: What is the Assessment Methodology?
Prepared by ADEQ staff
Must be consistent with Reg. 2
Must be scientifically based
Assessment outcomes determine:
  Attainment
  Non-Attainment

## Slide 10: Water Quality Assessment
Ecoregions | Temp (°C)
Ozark Highlands | 29
Boston Mountains | 31
Arkansas River Valley | 31
Ouachita Mountains | 30
Gulf Coastal Plain Typical Springwater-influenced | 30 30
Mississippi Alluvial Plain Least Altered Channel Altered | 30 32
Water Quality Standard
  +
Assessment Methodology
=
Water Quality Standard Attainment Decision

## Slide 11: Phase I and II Data Quality Requirements
QA/QC equivalent to ADEQ or USGS
Analysis must be from State certified lab
Reported in standard units
Characteristic of the main water body
Collected within the period of record
Phase II requirements are specific to each parameter

## Slide 12: Assessment Example
Turbidity (NTU) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
2011 | 7.2 | 6.2 | 5.1 | 32 | 29 | 91 | 14 | 17 | 19 | 31 | 17 | 12 | 10 | 9.1 |  |  |  | 
2012 | 10 | 8.0 | 10 | 8.2 | 16 | 18 | 7.4 | 7.7 | 7.2 | 32 | 20 | 16 | 13 | 9.2 | 9.8 | 11 | 10 | 7.8
 | 4.6 | 4.3 | 44 | 5.8 | 16 | 4.1 | 4.4 | 5.1 | 5.5 | 4.1 | 11 | 12 | 17 | 5.9 | 11 | 15 | 39 | 32
 | 164 |  | 34 | 20 | 130 |  | 28 | 14 | 8.4 | 50 | 23 | 12 | 5.5 | 24 |  |  |  | 
2013 | 4.9 | 83 | 55 | 27 | 19 | 11 | 8.0 | 21 | 11 | 10 | 7.2 | 5.7 | 5.0 | 4.6 | 16 | 7.7 | 7.5 | 10
 | 6.9 | 8.8 | 8.5 | 16 | 10 | 5.8 | 4.1 |  |  |  |  |  |  |  |  |  |  | 
ANRC Data for West Fork Point Remove Creek
AR River Valley Turbidity Standard # Impairments
Base Flows (21 NTU)* 11/32 (34.4%) All Flows (40 NTU) 7/89 (7.8%)
The 2014 Assessment Methodology allows a 20% exceedance of the total base flow values and a 25% exceedance of the total all flow values.
*Base flow occurs between June 1 and October 31; all flows represent the entire calendar
year.

## Slide 13: Assessment Example
ANRC Data for West Fork Point Remove Creek

## Slide 14: Assessment Example
ANRC & ADEQ Data for West Fork Point Remove Creek River
 | Turbidity (NTU) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
ANRC | 2011 | 7.2 | 6.2 | 5.1 | 32.6 | 29.4 | 90.6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2012 | 44.0 | 5.8 | 15.7 | 4.1 | 4.4 | 5.1 | 5.5 | 4.1 | 10.7 | 12.2 | 17.4 | 5.9 | 10.5 | 15.3 | 38.7 | 143.0 | 38.3 | 32.3 | 24.3 | 164.0 | 33.6 | 19.6
 | 2013 | 15.9 | 10.3 | 5.8 | 4.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
ADEQ | 2012 | 8.10 | 7.95 | 14.8 | 10.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
AR River Valley Turbidity Standard: Base Flows (21 NTU)*
The 2014 Assessment Methodology allows a 20% exceedance of the total base flow values and a 25% exceedance of the total all flow values.
*Base flow occurs between June 1 and October 31; all flows represent the entire calendar year.
Data Sources # Impairments
ANRC 11/32 (34.38%)
ANRC & ADEQ 11/36 (30.56%)

## Slide 15
Assessment Example
ANRC & ADEQ Data for West Fork Point Remove Creek

## Slide 16: The Stakeholder Process
Identify Stakeholders
Gather Input
Discuss Input
Make Recommendations

## Slide 17: Revisions in current AM Draft
Methodology for continuous DO, pH and temperature measurement
Use of binomial method to reduce the probability of error in decision making
Clarification of data quality expectations and others

## Slide 18: Timeline for Revision
Public Listening Session Oct 11, 2016
Input Period Closes Oct 31, 2016
Provide Summary of Input Nov 2016
Stakeholder Workgroup Dec-July 2017
Provide Summary of Input July 2017
Public Notice 2017
Response to Comments 2017
Finalize Methodology 2017

## Slide 19: 2016 Miles Assessed

## Slide 20: 2016 Designated Use Support & Water Quality Standards Attainment

## Slide 21: New Listings for 2016
72 Pollutant Pairs
  Minerals - Cl, SO4, TDS (19)
  Turbidity (3)
  Dissolved Oxygen (26)
  Metals - Cu, Pb, Zn, Se (13)
  Temperature (3)
  Pathogens (1)
  pH (7)

## Slide 22: De-Listings for 2016
98 Pollutant Pairs
  Minerals - Cl, SO4, TDS (31)
  Metals - Cu, Pb, Zn (27)
  Turbidity (20)
  pH (8)
  Dissolved Oxygen (4)
  Temperature (8)
  Pathogens (0)

## Slide 23: Deferred Action-Streams
Bayou Bartholomew
Bayou DesArc
Bayou Deview
Cache River
Cossatot River
Cypress Creek
Huckleberry Creek
Hurricane Creek
S. Fork Little Red
Maumelle River
Ouachita River
White River
White Oak Bayou
W. Pt. Remove
W. Fork White
Unnamed Tribs.
Spring River
S. Fork Spring
Saline River
Red River
North & Middle Saline
Yount Creek
Notes: EPA ROD 7/19/2017 “EPA is deferring action on 45 potential water body pollutant pairs with the expectation that the deferral will be reconsidered expeditiously. The EPA is working closely with ADEQ to assemble available data for these water bodies to determine whether an assessment is possible or if we agree that there is insufficient data for an assessment.

## Slide 24: Deferred Action - Lakes
Dierks Lake
Gilham Lake
Lake Austelle
Lake Catherine
Poinsett Lake
Lake Cox Creek
Lake DeQueen
Lake Ouachita

## Slide 25: Public Participation Opportunities
2018 Assessment Methodology
  Comment on Final Draft
Regulation No. 2 Triennial Review
  Stakeholder Group to begin in 2017
Continuous Planning Process
  Stakeholder Group to begin in 2018

## Slide 26: Water Quality Criteria
ADEQ solicits water quality data from state and federal agencies, universities, and other entities.
  Data must meet or exceed ADEQ’s or USGS’ QA/QC protocols.
ADEQ assembles and evaluates all existing and readily available data.
  Data that does not meet QA/QC protocols will not be used to determine water quality standards attainment; however, these data may be used as a screening tool to determine whether additional monitoring is warranted.
Data sets containing <10 data points will be used as a screening sample.
  Segments with <10 data points and 2 or more exceedances will warrant additional monitoring and may be placed in Category 3 for further investigation.
Samples sizes of 10 data points or greater will be used to make water quality standard attainment decisions; appropriate exceedance rates apply.

## Slide 28: Water Quality Standards
In Arkansas, water quality standards were developed using data from least-disturbed streams within each of the State’s six (6) ecoregions
The data used for standards development were collected during an intensive, statewide study of the physical, chemical, and biological characteristics of least-disturbed streams (1983-1986)
Ecoregion Based

## Slide 29: Water Quality Standards
Biological and water quality standards include criteria designed to prevent impairment of water quality data collected throughout the state are utilized to create water quality standards for the state’s surface waters.
  the designated uses.
These criteria serve as the regulatory basis for water quality-based treatment controls under Section 303(e) of the Clean Water Act

## Slide 30: Assessment Process
Water Quality Data
Assessment Methodology
Impaired – 303(d) List
Not Impaired
Notes: Water quality data must meet all data quality control (QC) requirements set forth in the assessment methodology. If it does, it will be assessed using the Assessment Methodology.

## Slide 31: Water Quality Criteria
Assessment Criteria | Exceedance Rates | 
Temperature (°C) | >10% | 
Turbidity | Base Flows >20%* | All Flows >25%
pH | not below 6.0 or above 9.0 s.u. | 
Dissolved Oxygen | >10% | 
Toxic Substances | >1 exceedance of the criterion | 
Assessment Methodology
*Base flow values represent the critical season, June 1 to October 31.